|  |  |
| --- | --- |
|  |  **EC Declaration of Conformity** |

**Manufacturer**

Meriam Process Technologies, a Scott Fetzer Company

10920 Madison Avenue, Cleveland, Ohio 44102, USA

**Product Description**

M1000 series pressure sensors

M2000 series pressure sensors

**This Declaration is based on compliance with the following standards at the time of original delivery:**

**Regarding Ingress Protection**

|  |  |
| --- | --- |
| * EN60529
 | Degrees of Protection Provided by Enclosures (IP Code: IP52) |

**Regarding Electromagnetic Compatibility (EMC) for Handheld Class A device**

M2000 Series compliant with EMC Directive 2014/30/EU

|  |  |
| --- | --- |
| * EN 61326-1:2016
 | Electrical equipment for measurement, control and laboratory use-EMC requirements |

The manufacturer also attests that the products listed above conform to the essential requirements of RoHS Directive 2011/65/EU and WEEE directive 2012/19/EU by self-declaration.

For and on behalf of

Meriam Process Technologies,

19-Dec-2019

John Merrill Date:

Standards Engineer

Meriam Process Technologies