|  |  |
| --- | --- |
| **L:\SQ\Work from home\New-Western-Logo-PNG.png** | **EC Declaration of Conformity** |

**Manufacturer**

Western Enterprises, a Scott Fetzer Company

10920 Madison Avenue, Cleveland, Ohio 44102, USA

**Product Description**

MTS series pressure sensors

**This Declaration is based on compliance with the following standards at the time of original delivery:**

**Regarding Ingress Protection**

|  |  |
| --- | --- |
| * EN60529 | Degrees of Protection Provided by Enclosures (IP Code: IP52) |

**Regarding Electromagnetic Compatibility (EMC) for Handheld Class A device**

MTS Series compliant with EMC Directive 2014/30/EU

|  |  |
| --- | --- |
| * EN 61326-1:2016 | Electrical equipment for measurement, control and laboratory use-EMC  requirements |

The manufacturer also attests that the products listed above conform to the essential requirements of RoHS Directive 2011/65/EU and WEEE directive 2012/19/EU by self-declaration.

For and on behalf of

Western Enterprises,

19-Dec-2019

John Merrill Date:

Standards Engineer

Western Enterprises